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Please refer to the ProSling Size Selection Chart
for guidance on sizing recommendations.

This chartis published in the ProSling Range
Guide andis available to download from

Itis very important to use the correct sized sling
andensureitis properly fitted before attempting
tollift. Thiswill ensure the patient feels safe, dignified
and comfortable, and allows the carerto be
confident of an effective and safe procedure.
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THERAPEUTIC DEVICES SHOULD ONLY BE USED IN ACCORDANCE WITH MANUFACTURERS INSTRUCTIONS AND UNDER THE CONSENT, SUPERVISION AND
MANAGEMENT OF A SUITABLY QUALIFIED HEALTH PROFESSIONAL.
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Dimensions mm
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Size width  leg width leg length  depth length head strap leg strap torso band Capacity
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Hygiene
with
Head
Support

Small 900 190 570 620 995 290 440 850 205 kg
Medium 1030 190 580 690 1010 290 440 980 205 kg
Large 1100 190 630 800 1100 290 440 1050 300 kg
Extra Large 1300 200 700 880 1230 300 450 1200 300 kg
Extra Extra Large 1450 210 750 980 1370 300 450 1300 300 kg









